## Slide 1: NIGERIAN ELECTRICITY MANAGEMENT SERVICES AGENCY (NEMSA)
Engr. Olusegun Adesayo
Managing Director/CEO &
Chief Electrical Inspector of the Federation
NEMSA
No. 4, Dar es Salaam Crescent, Off Aminu Kano Crescent, Wuse II, Abuja, Nigeria.
www.nemsa.gov.ng
“SAFETY RANKING OF DISCOS & TCN IN THE POWER SECTOR”
MARCH 2026 RANKING
by

## Slide 2
Nigerian Electricity Management Services Agency
NIGERIAN ELECTRICITY MANAGEMENT SERVICES AGENCY (NEMSA)
Operators of the Power Sector to address these urgently.
Many of the electrical accidents that occur in the power
industry can be attributed to these major factors:
System Protection
Equipment Failures.
(ii) In some cases, the total absence
of protection devices.
(iii) Poor Termination, Poor
maintenance of Ageing
Networks.
(iv) Violation of Right-of-Way
and related issues.
(v) Poor Response to Monitored
Networks & Use of Substandard
Materials.
(vi) Non-adherence to Safety Rules,
Requirements and Regulations.
(vii) Inadequate knowledge of Safety
precaution on the part of
operators and ignorance on the
part of Consumers/Public.
(viii) Vandalisation of Power
equipment and materials.

## Slide 3: NIGERIAN ELECTRICITY MANAGEMENT SERVICES AGENCY (NEMSA)
Nigerian Electricity Management Services Agency
REVISED RANKING CRITERIA
2015 BASELINE STUDY:
Average/ month = 7.5 (8)
Fatalities (Deaths)
No. of Fatalities | Scores
0 | 40
1 - 2 | 20
3 & Above | 0
2015 BASELINE STUDY: Average Deaths/ month = 9.5 (10)
Major Injuries
No. of Persons with Major Injuries | Scores
0 | 20
1 – 2 | 15
3 – 4 | 10
5 – 6 | 5
7 & Above | 0
No. Resolved | Scores
21 & Above | 30
16 – 20 | 20
11– 15 | 10
5–10 | 5
Below 5 | 0
NETWORK RESOLVED
Response | Scores
Within 1 week | 5
Within 2 weeks | 4
Within 3 weeks | 3
Within 4 weeks | 2
0 | 0
REPORTING COMPLIANCE
DESCRIPTION | EVENT | SCORES
I. TOTAL ACCIDENTS | NOT SCORED | SCORED
II. NO. OF FATALITIES | 0 | 40
III. NO. OF MAJOR INJURIES | 0 | 20
IV. NO. OF BAD NETWORKS RESOLVED | >21 | 30
V. DISCONNECTED STRUCTURES UNDER /WITHIN RIGHT-OF-WAY | >20 | 5
VI. REPORTING COMPLIANCE | 4 | 5
TOTAL |  | 100
Structures under Right-of-Way removed | Scores
21 & Above | 5
11 – 20 | 3
5 – 10 | 1
Below 5 | 0
Disconnected Structures under Right-of-Way

## Slide 4: NIGERIAN ELECTRICITY MANAGEMENT SERVICES AGENCY (NEMSA)
DEATHS [STAFF & 3RD PARTY] | MAJOR INJURIES | BAD NETWORKS RESOLVED | STRUCTURES UNDER RIGHT OF WAY DISCONNECTED | REPORTING COMPLIANCE | TOTAL | RANKING
20 | 20 | 0 | 0 | 5 | 45 | 7
40 | 20 | 0 | 0 | 5 | 65 | 4
20 | 20 | 5 | 0 | 5 | 50 | 6
40 | 20 | 0 | 0 | 5 | 65 | 4
40 | 20 | 0 | 3 | 5 | 68 | 2
40 | 15 | 0 | 0 | 5 | 60 | 5
40 | 20 | 0 | 1 | 5 | 66 | 3
0 | 15 | 0 | 0 | 5 | 20 | 8
40 | 20 | 30 | 0 | 5 | 95 | 1
40 | 15 | 5 | 0 | 5 | 65 | 4
40 | 20 | 0 | 0 | 5 | 65 | 4
40 | 15 | 0 | 0 | 5 | 60 | 5
RAW DATA
WEIGHTED SCORE
MONTH: MARCH 2026
Note: Discos should rectify defective networks reported to them by NEMSA as a priority.
Notification by Discos to NEMSA for verification should be weekly, rather than waiting till end of the month.
S/No | DISCO | TOTAL ACCIDENTS WITH DEATHS | TOTAL NO. OF DEATHS [STAFF] | TOTAL NO. OF DEATHS [3RD PARTY] | NO. OF MAJOR INJURIES | NO. OF BAD NETWORKS RESOLVED BY DISCO / TCN | STRUCTURES UNDER RIGHT OF WAY DISCONNECTED | REPORTING COMPLIANCE
1 | ABUJA | 1 | 1 | 0 | 0 | 0 | 0 | 1
2 | BENIN | 0 | 0 | 0 | 0 | 0 | 0 | 1
3 | EKO | 1 | 0 | 1 | 0 | 10 | 0 | 1
4 | ENUGU | 0 | 0 | 0 | 0 | 2 | 0 | 1
5 | IBADAN | 0 | 0 | 0 | 0 | 0 | 11 | 1
6 | IKEJA | 0 | 0 | 0 | 2 | 0 | 0 | 1
7 | JOS | 0 | 0 | 0 | 0 | 0 | 7 | 1
8 | KADUNA | 4 | 0 | 4 | 1 | 0 | 0 | 1
9 | KANO | 0 | 0 | 0 | 0 | 26 | 0 | 1
10 | PORT HARCOURT | 0 | 0 | 0 | 1 | 10 | 0 | 1
11 | YOLA | 0 | 0 | 0 | 0 | 0 | 0 | 1
12 | TCN | 0 | 0 | 0 | 1 | 2 | 0 | 1
 | TOTAL | 6 | 1 | 5 | 5 | 50 | 18 | 
N/A: Not available

## Slide 5
5
NIGERIAN ELECTRICITY MANAGEMENT SERVICES AGENCY (NEMSA)
Compliance Record on Disconnection of Structures/Premises under or within Right-of-Way of Power Lines in March, 2026
Notes:
Compliance by Discos to disconnect premises/buildings/structures under and within right-of-way of power lines has been unsatisfactory.
Discos are to note that they will be liable should electrical accidents occur in premises/buildings/structures which are under and/or within right-of-way of power lines and which the Discos are supplying electricity to.
 | DISCO | TOTAL PREMISES/STRUCTURES DISCONNECTED | TOTAL PREMISES/STRUCTURES DEMOLISHED | RANKING
1 | ABUJA | 0 | 0 | LAST
2 | BENIN | 0 | 0 | LAST
3 | EKO | 0 | 0 | LAST
4 | ENUGU | 0 | 0 | LAST
5 | IBADAN | 11 | 0 | 1
6 | IKEJA | 0 | 0 | LAST
7 | JOS | 7 | 0 | 2
8 | KADUNA | 0 | 0 | LAST
9 | KANO | 0 | 0 | LAST
10 | PORT HARCOURT | 0 | 0 | LAST
11 | YOLA | 0 | 0 | LAST
 | TOTAL | 18 | 0 | 

## Slide 6
6
NIGERIAN ELECTRICITY MANAGEMENT SERVICES AGENCY (NEMSA)
Compliance Record on Disconnection of Structures/Premises under or within Right-of-Way of Power Lines March, 2026.
Notes: TOTAL PREMISES/STRUCTURES DISCONNECTED
Compliance by Discos to disconnect premises/buildings/structures under and within right-of-way of power lines has been unsatisfactory.
Discos are to note that they will be liable should electrical accidents occur in premises/buildings/structures which are under and/or within right-of-way of power lines and which the Discos are supplying electricity to.
S/No. | DISCO | JAN | FEB | MAR | APR | MAY | JUNE | JULY | AUG | SEPT | OCT | NOV | DEC | TOTAL
1 | ABUJA | 0 | 0 | 0 |  |  |  |  |  |  |  |  |  | 0
2 | BENIN | 0 | 0 | 0 |  |  |  |  |  |  |  |  |  | 0
3 | EKO | 0 | 0 | 0 |  |  |  |  |  |  |  |  |  | 0
4 | ENUGU | 7 | 3 | 0 |  |  |  |  |  |  |  |  |  | 10
5 | IBADAN | 0 | 24 | 11 |  |  |  |  |  |  |  |  |  | 35
6 | IKEJA | 0 | 0 | 0 |  |  |  |  |  |  |  |  |  | 0
7 | JOS | 0 | 0 | 7 |  |  |  |  |  |  |  |  |  | 7
8 | KADUNA | 0 | 0 | 0 |  |  |  |  |  |  |  |  |  | 0
9 | KANO | 2 | 2 | 0 |  |  |  |  |  |  |  |  |  | 4
10 | PORT HARCOURT | 0 | 0 | 0 |  |  |  |  |  |  |  |  |  | 0
11 | YOLA | 0 | 0 | 0 |  |  |  |  |  |  |  |  |  | 0
 | TOTAL | 9 | 29 | 18 |  |  |  |  |  |  |  |  |  | 56

## Slide 7: NIGERIAN ELECTRICITY MANAGEMENT SERVICES AGENCY (NEMSA)
Nigerian Electricity Management Services Agency
DISCOS & TCN RANKING TREND IN MARCH, 2026
S/No. | DISCO | JAN | FEB | MARCH | APRIL | MAY | JUNE | JULY | AUG | SEPT | OCT | NOV | DEC | YTD
1 | ABUJA | 3 | 3 | 7 |  |  |  |  |  |  |  |  |  | 8
2 | BENIN | 7 | 3 | 4 |  |  |  |  |  |  |  |  |  | 9
3 | EKO | 2 | 1 | 6 |  |  |  |  |  |  |  |  |  | 4
4 | ENUGU | 5 | 2 | 4 |  |  |  |  |  |  |  |  |  | 6
5 | IBADAN | 3 | 3 | 2 |  |  |  |  |  |  |  |  |  | 3
6 | IKEJA | 3 | 4 | 5 |  |  |  |  |  |  |  |  |  | 7
7 | JOS | 3 | 2 | 3 |  |  |  |  |  |  |  |  |  | 3
8 | KADUNA | 4 | 3 | 8 |  |  |  |  |  |  |  |  |  | 10
9 | KANO | 3 | 1 | 1 |  |  |  |  |  |  |  |  |  | 1
10 | PORT HARCOURT | 6 | 3 | 4 |  |  |  |  |  |  |  |  |  | 8
11 | YOLA | 1 | 2 | 4 |  |  |  |  |  |  |  |  |  | 2
12 | TCN | 3 | 2 | 5 |  |  |  |  |  |  |  |  |  | 5

## Slide 8
if they intensify efforts at:
revamping/calibrating their protection schemes & equipment
(ii) rectifying defective networks to prevent electrical accidents and reduce
technical losses.
(iii) educating the general public on the need for extreme caution with using
electricity!
Nigerian Electricity Management Services Agency
NIGERIAN ELECTRICITY MANAGEMENT SERVICES AGENCY (NEMSA)
Operators of the Power Sector are expected to achieve
Zero target for Electrocutions & Injuries nationwide.
Discos are encouraged to report domestic electrocutions not directly connected with their networks, for information only. This will not count against their ranking.

## Slide 9
Nigerian Electricity Management Services Agency
Work Safely!
Safety First - Safety Always
NEMSA.
9
NIGERIAN ELECTRICITY MANAGEMENT SERVICES AGENCY (NEMSA)
SAFETY TIPS
Do not build structures or carry out activities under power lines
Avoid contact with electric poles, Tv antenna poles, conductors and other electrical equipment installed in the open.
Avoid staying under trees with conductors running over such trees.
Avoid climbing masts constructed close to power lines.
Avoid power cables and metallic objects.
Wear rubber sole shoes always when on wet grounds.
Report any fallen electric poles or conductors to the nearest electricity utility company or to NEMSA office nearest to you. Do not attempt to touch these.